품 명	휴대용핵종분석기(RAD-ID-G)
참고사진
제 원	□ 규 격 - Detector : 1. Large 4 cm array of Cadmium Zinc Telleride (CZT) high-resolution crustals 2. Large 24.4 cm Sodium Iodide detector with high-sensitivity photo-multiplier tube 3. He3 neutron detector 4. Geiger-Mueller detector - Display : High-resolution 65,000 color 3.6” (320 x 240) backlit LCD - Data links : Bluetooth (Class 1, 100 meter range) or IRDA - Power : Three D-cell batteries - Battery Life : 12 hours Response Time Less than 1 second Calibration Automatic (Background) Alarms Dose rate level, gamma detection level, neutrons Units mrems/hr, μSv/hr, μR/hr Relative Humidity 0-100% condensing Dimensions 7.5” x 5.3“ x 11.2” (19 cm x 13.5 cm x 28.4 cm) Weight 7.45 lbs (3.38 kg) with batteries
비 고